## Copy of BoQ CCTV VN
PT. Visiniaga Mitra Kreasindo
Jalan Semut Baru, Ruko Pengampon Square Blok F-26,
Bongkaran - Pabean Cantikan, Surabaya, 60161, Indonesia
Telp. 031 - 3557730 / 99095635
Quotation
Prepared for:
No.
Date
Sales
No. | Specification User | Part Number | Internal References | Brand | Description - Item yang Ditawarkan | Qty. |  | Unit Price | Line Total | Modal Unit | Modal Unit Lama | Modal Total | Laba Unit | Laba Total | Margin | Supplier
Material Unit
1 |  |  | G024094230 |  | V - KAMERA FIXED DOME 2 MP DS-2CD1121G0-I | 30 | Unit | 440000 | 13200000 | 307387 |  | 11621622 | 52613 | 1578378 | 11.96% | CV. Sarana Duta Solusindo
2 |  |  | G024094232 |  | V - KAMERA DOME MOTORIZED 2 MP DS-2CD2721GO-IZ | 6 | Unit | 2021500 | 12129000 | 109279 |  | 10675676 | 242221 | 1453324 | 11.98% | CV. Sarana Duta Solusindo
3 |  |  | G024094234 |  | V - KAMERA FIXED BULLET 2 MP DS-2CD1021G0-I | 11 | Unit | 419500 | 4614500 | 319369 |  | 4063063 | 50131 | 551437 | 11.95% | CV. Sarana Duta Solusindo
4 |  |  | G024094240 |  | V - NVR 32 PORT KAMERA/4 PORT HDD DS-7732NXI-I4/S | 2 | Unit | 6909500 | 13819000 | 6081081 |  | 12162162 | 828419 | 1656838 | 11.99% | CV. Sarana Duta Solusindo
5 |  |  | G024094236 |  | V - NVR 16 PORT KAMERA/4 PORT HDD DS-7716NXI-I4/S | 1 | Unit | 6142000 | 6142000 | 5405405 |  | 5405405 | 736595 | 736595 | 11.99% | CV. Sarana Duta Solusindo
6 |  |  | G024094244 |  | V - Harddisk SEAGATE SKYHAWK AI for surveillance MFI (untuk NVR yg berada di ruang Server) 10 TB | 8 | Unit | 6022000 | 48176000 | 5300000 |  | 42400000 | 722000 | 5776000 | 11.99% | CV. Sarana Duta Solusindo
7 |  |  | G024094246 |  | V - Hikvision 24 Port Gigabit managed PoE Switch DS-3E1526P-EI | 4 | Unit | 3583000 | 14332000 | 3153153 |  | 12612613 | 429847 | 1719387 | 12% | CV. Sarana Duta Solusindo
8 |  |  | G024094248 |  | V - Hikvision 16 Port Gigabit Managed Switch DS-3E1516-EI | 3 | Unit | 1075000 | 3225000 | 945946 |  | 2837838 | 129054 | 387162 | 12.01% | CV. Sarana Duta Solusindo
9 |  |  |  |  | Switch 24 Port Hikvision DS-3E1528-Si-24t4F | 1 | Unit | 2687000 | 2687000 | 3364865 |  | 2364865 | 322135 | 322135 | 11.99% | CV. Sarana Duta Solusindo
10 |  |  | G024094252 |  | V - APC Lan Arester untuk kamera nomer 1 sd 8,17,18,23,24,25,26, | 10 | Unit | 568000 | 5680000 | 500000 |  | 5000000 | 68000 | 680000 | 11.97% | TOKOPEDIA, Tokopedia
11 |  |  | G024094254 |  | V - Indorack Wall Mounted Rack 8U depth 450mm 8u Single Door WIR4508S | 6 | Unit | 2124000 | 12744000 | 1869369 |  | 11216216 | 254631 | 1527784 | 11.99% | PT. BORNEO MEGA POWERINDO
12 |  |  | G024094256 |  | V - Indorack Fix slave rack 1 U (untuk alas 3 unit NVR di rack server) FS90 | 1 | Pcs | 271500 | 271500 | 238739 |  | 238739 | 32761 | 32761 | 12.07% | PT. BORNEO MEGA POWERINDO
13 |  |  | G024094258 |  | V - Monitor TV 32" Samsung (untuk live di ruang LP) UA32T4503 | 2 | Unit | 2559000 | 5118000 | 2252252 |  | 4504505 | 306748 | 613495 | 11.99% | PERDANA ELEKTRONIK
14 |  |  | G024094262 |  | V - Monitor LED LG 24MR400 24 Inch | 1 | Unit | 1254000 | 1254000 | 1103604 |  | 1103604 | 150396 | 150396 | 11.99% | CV. DB KLIK
15 |  | HIkvision DS-1280ZJ-XS | G024094152 |  | V -Junction Box khusus untuk pelindung konektor RG45 kamera Outdoor (kamera nomer 1 sd 32) PFA130-E | 9 | Unit | 230500 | 2074500 | 202703 |  | 1824324 | 27797 | 250176 | 12.06% | PT. Integra Mitra Solusi
16 |  |  |  |  | Door contact kecil-Besi untuk pintu gudang Mezanine (diseri ke zona 8 roof top) | 1 | Unit | 40000 | 40000 | 35000 |  | 35000 | 5000 | 5000 | 12.5% | Jakarta alaram
17 |  |  | G024094385 |  | V - Roller Shutter Sensor Magnetic Door alarm contact with L Bracket (Zona 10 / Rolling Door Gudang) | 7 | Unit | 170500 | 1193500 | 150000 |  | 1050000 | 20500 | 143500 | 12.02% | Jakarta alaram
18 |  |  | G024094195 |  | V - Mouse Wireless Logitech M-185 | 2 | Pcs | 189500 | 379000 | 166667 |  | 333333 | 22833 | 45667 | 12.05% | CV. DB KLIK
[5 empty] | Material Cable |  |  |  | Rp -
1 |  |  | G024094177 |  | V - Wiring management AMP COMSCOPE (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1 & 1 unit diruang server) | 8 | Pcs | 187500 | 1500000 | 165000 |  | 1320000 | 22500 | 180000 | 12% | PT. AWS Distribution
2 |  |  | G024094179 |  | V - PatchPanel CAT 6 AMP COMSCOPE 24 port unloaded (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1, & 1 unit diruang server) | 8 | Pcs | 456000 | 3648000 | 401500 |  | 3212000 | 54500 | 436000 | 11.95% | PT. AWS Distribution
3 |  |  | G024094182 |  | V - Modullar RG45 cat6 AMP COMSCOPE for patch pannel (cctv+back bound wmr+backbound Rack server) | 127 | Pcs | 57000 | 7239000 | 50000 |  | 6350000 | 7000 | 889000 | 12.28% | PT. AWS Distribution
4 |  |  | G024094508 |  | V - Patchcord UTP Cat 6 4 Feet (branded) For Panel WMR (warna biru) | 95 | Pcs | 56000 | 5320000 | 49500 |  | 4702500 | 6500 | 617500 | 11.61% | PT. AWS Distribution
5 |  |  | G024094510 |  | V - Patchcord UTP Cat 6 4 Feet (branded) For Backbone (warna merah) | 36 | Pcs | 56000 | 2016000 | 49500 |  | 1782000 | 6500 | 234000 | 11.61% | PT. AWS Distribution
6 |  |  | G024094189 |  | V - Cable cat 6 AMP COMSCOPE untuk 70 kamera & backbond ke server10 tarikan(1 roll = 305 meter) | 18 | Roll | 2102000 | 37836000 | 1850000 |  | 33300000 | 252000 | 4536000 |  | PT. AWS Distribution
7 |  |  | G024094192 |  | V - Cable cat 6 STP BELDEN untuk 22 kamera outdoor bullet no.1,3 s/d 20,30,31,32 (1 roll = 305 meter) | 6 | Roll | 4299500 | 25797000 | 3783784 |  | 22702703 | 515716 | 3094297 |  | dynacom@gmail.com
8 |  |  |  |  | Netviel 4 Core SM Outdoor Fiber Optic | 475 | Mtr | 27000 | 12825000 | 23600 |  | 11210000 | 3400 | 1615000 |  | PT Optiviel Cable
9 |  |  |  |  | Patch Cord FO LC to LC Duplex Single Mode (R. Server, WMR 1) panjang 2 METER Netviel | 4 | Pcs | 360000 | 1440000 | 317000 |  | 1268000 | 43000 | 172000 |  | PT Optiviel Cable
10 |  |  |  |  | Netviel OTB 1 U Rackmount 8 Core Included adapter & Pigtail SM LC | 3 | Unit | 3238500 | 9715500 | 2850000 |  | 8550000 | 388500 | 1165500 |  | PT Optiviel Cable
11 |  |  |  |  | SFP 1GB Hikvision SFP 1 GB SM HK-SFP-1.25G-20-1310-DF | 4 | Unit | 204500 | 818000 | 180180 |  | 720721 | 24320 | 97279 |  | CV. Sarana Duta Solusindo
12 |  |  | G024094203 |  | V - Power Cable Supreme NYM 3 x 1.5 mm 1 roll = 100 meter | 1 | Roll | 1433000 | 1433000 | 1261261 |  | 1261261 | 171739 | 171739 |  | CV. Pilar Abadi Nusantara
13 |  |  | G024094533 |  | V - Kabel Power 3x2,5 mm @100 mtr For client | 5 | Roll | 2149500 | 10747500 | 1891891.89 |  | 9459459 | 257608 | 1288041 |  | CV. Pilar Abadi Nusantara
14 |  |  |  |  | Kabel Power NYY 3x2.5 mm @100mtr/roll | 1 | Roll | 2405500 | 2405500 | 2117117 |  | 2117117 | 288383 | 288383 |  | CV. Pilar Abadi Nusantara
15 |  |  | G024094391 |  | V - Intrusion Alarm Cable “SUPREME” TC4 ( 1 roll = 500 meter) (2 Pair) | 1 | Roll | 2201000 | 2201000 | 1936937 |  | 1936937 | 264063 | 264063 |  | CV. Pilar Abadi Nusantara
16 |  |  | G024094197 |  | V - Kabel HDMI panjang 20 meter untuk koneksi LED ke NVR (dari ruang server ke ruang cctv) | 2 | Pcs | 608000 | 1216000 | 535000 |  | 1070000 | 73000 | 146000 |  | PT. Surya Artha Komputama
17 |  |  |  |  | Kabel HDMI 2mtr bafo | 1 | Pcs | 71500 | 71500 | 63063 |  | 63063 | 8437 | 8437 |  | PT. Surya Artha Komputama
[5 empty] | Material Support | [6 empty] | Rp - | Rp - | Rp -
1 |  |  | G024094100 |  | V - High Impact Pipa Conduit 20 mm Boss Hitam | 728 | Batang | 10500 | 7644000 | 9189 |  | 6689730 | 1311 | 954270 | 12.48% | PT Adji Saka Sentosa
2 |  |  | G024094324 |  | V - High Impact Pipa Conduit 20mm Putih Boss | 398 | Batang | 10500 | 4179000 | 9189 |  | 3657298 | 1311 | 521702 | 12.48% | PT Adji Saka Sentosa
3 |  |  | G024094102 |  | V - Sok Conduit 20 MM Boss putih | 27 | Pack | 77500 | 2092500 | 68018 |  | 1836487 | 9482 | 256013 | 12.23% | PT Adji Saka Sentosa
4 |  |  | G024094396 |  | V - Sok Conduit 20 MM Boss Hitam | 0 | Pack | 77500 | Rp - | 68018 |  | Rp - | 9482 | Rp - |  | PT Adji Saka Sentosa
5 |  |  | G023095000 |  | V - Flexible Conduit 20 mm Putih Boss | 2 | Roll | 263000 | 526000 | 231532 |  | 463063 | 31468 | 62937 | 11.97% | PT Adji Saka Sentosa
6 |  |  | G024094109 |  | V - Flexible Conduit BOSS 20 MM Hitam | 4 | Roll | 263000 | 1052000 | 231532 |  | 926126 | 31468 | 125874 | 11.97% | PT Adji Saka Sentosa
7 |  |  | G024094107 |  | V - Klem Conduit 20 mm Putih | 5 | Pack | 77500 | 387500 | 68018 |  | 340090 | 9482 | 47410 | 12.23% | PT Adji Saka Sentosa
8 |  |  | G024094105 |  | V - Clam Conduit Hitam | 7 | Pack | 77500 | 542500 | 68018 |  | 476126 | 9482 | 66374 | 12.23% | PT Adji Saka Sentosa
9 |  |  | G024094111 |  | V - T-Dus Conduit 20 mm putih | 20 | Unit | 7000 | 140000 | 6126 |  | 122523 | 874 | 17477 | 12.48% | PT Adji Saka Sentosa
10 |  |  | G024094113 |  | V - Fisher S6 | 15 | Pack | 8000 | 120000 | 6847 |  | 102705 | 1153 | 17295 | 14.41% | CV. Pilar Abadi Nusantara
11 |  |  | G024094115 |  | V - Sekrup S6 | 15 | Pack | 10000 | 150000 | 9009 |  | 135135 | 991 | 14865 | 9.91% | CV. Pilar Abadi Nusantara
12 |  |  | G024094119 |  | V - Kabel Ties 25 mm Putih | 5 | Pack | 16500 | 82500 | 14595 |  | 72973 | 1905 | 9527 | 11.55% | CV. Pilar Abadi Nusantara
13 |  |  | G024094117 |  | V - Kabel Ties 25 mm Hitam | 10 | Pack | 16500 | 165000 | 14595 |  | 145946 | 1905 | 19054 | 11.55% | CV. Pilar Abadi Nusantara
14 |  |  | G024094122 |  | V - Solasi Kertas | 5 | Unit | 7000 | 35000 | 5946 |  | 29730 | 1054 | 5270 | 15.06% | CV. Pilar Abadi Nusantara
15 |  |  | G024094126 |  | V - Solasi hitam / listrik | 5 | Unit | 5500 | 27500 | 5045 |  | 25225 | 455 | 2275 | 8.27% | CV. Pilar Abadi Nusantara
16 |  |  | G024094124 |  | V - Ties Label 2.5x110mm | 2 | Pack | 29000 | 58000 | 25676 |  | 51351 | 3324 | 6649 |  | CV. Pilar Abadi Nusantara
17 |  |  | G024094128 |  | V - Vilcrow 5 Meter | 3 | Pcs | 45500 | 136500 | 40000 |  | 120000 | 5500 | 16500 |  | TOKOPEDIA, Tokopedia
18 |  |  | G024094130 |  | V - Baut Gypsum 3 cm | 1 | Pack | 57000 | 57000 | 50000 |  | 50000 | 7000 | 7000 |  | TOKOPEDIA, Tokopedia
19 |  |  | G024094132 |  | V - Sealant bening | 2 | Pcs | 29500 | 59000 | 26000 |  | 52000 | 3500 | 7000 |  | TOKOPEDIA, Tokopedia
20 |  |  | G024094134 |  | V - Duradus Hitam 105x105 | 38 | Pcs | 10000 | 380000 | 9009 |  | 342342 | 991 | 37658 |  | CV. Pilar Abadi Nusantara
21 |  |  | G024094136 |  | V - Pilox Kuning | 7 | Pcs | 53500 | 374500 | 47000 |  | 329000 | 6500 | 45500 |  | TOKOPEDIA, Tokopedia
22 |  |  | G024094138 |  | V - Murbaut M4x20 | 20 | Pcs | 1500 | 30000 | 1200 |  | 24000 | 300 | 6000 |  | TOKOPEDIA, Tokopedia
23 |  |  | G024094167 |  | V - Clam Buaya 20 mm | 20 | Pcs | 11500 | 230000 | 10000 |  | 200000 | 1500 | 30000 |  | TOKOPEDIA, Tokopedia
24 |  |  | G024094215 |  | V - Box Panel MCB Indoor 30x40x15 cm | 1 | Unit | 230500 | 230500 | 202703 |  | 202703 | 27797 | 27797
25 |  |  | G024094207 |  | V - MCB Schneider 20A | 1 | Unit | 77000 | 77000 | 67568 |  | 67568 | 9432 | 9432 |  | CV. Pilar Abadi Nusantara
26 |  |  | G024094209 |  | V - MCB Schneider 10A | 1 | Unit | 77000 | 77000 | 67568 |  | 67568 | 9432 | 9432 |  | CV. Pilar Abadi Nusantara
27 |  |  | G024094211 |  | V - MCB Schneider 6A | 7 | Unit | 77000 | 539000 | 67568 |  | 472973 | 9432 | 66027 |  | CV. Pilar Abadi Nusantara
28 |  |  | G024094213 |  | V - Dinrail / mcb rail kit | 1 | Pcs | 25500 | 25500 | 22523 |  | 22523 | 2977 | 2977 |  | CV. Pilar Abadi Nusantara
29 |  |  |  |  | Tiang gantung Galvanis Conduit 1/2 inch , Panjang 0,5 meter) | 18 | Pcs | 255500 | 4599000 | 225000 |  | 4050000 | 30500 | 549000 |  | Global Teknik Solusindo
30 |  |  |  |  | Tiang gantung Galvanis Conduit 3/4-1/2 inch, panjang 1 meter (bisa diadjust naik turun) | 25 | Pcs | 284000 | 7100000 | 250000 |  | 6250000 | 34000 | 850000 |  | Global Teknik Solusindo
31 |  |  |  |  | Tiang Kamera Panjang 3,5 meter diameter 2 inch | 9 | Pcs | 511500 | 4603500 | 450000 |  | 4050000 | 61500 | 553500 |  | Global Teknik Solusindo
32 |  |  | G024094148 |  | V - Breket tempel untuk LED 32 inc di ruang cctv | 4 | Pcs | 193000 | 772000 | 170000 |  | 680000 | 23000 | 92000 |  | Global Teknik Solusindo
33 |  |  | G024094150 |  | V - Breket tempel untuk LED 43 inc | 1 | Pcs | 193000 | 193000 | 170000 |  | 170000 | 23000 | 23000
34 |  |  |  |  | Bracket tempel monitor led 24inch | 1 | Pcs | 193000 | 193000 | 170000 |  | 170000 | 23000 | 23000 |  | Global Teknik Solusindo
35 |  |  |  |  | Tang Krimping rj45 belden | 1 | Pcs | 852000 | 852000 | 750000 |  | 750000 | 102000 | 102000 |  | TOKOPEDIA, Tokopedia
36 |  |  |  |  | Lan Tester | 1 | Pcs | 74000 | 74000 | 65000 |  | 65000 | 9000 | 9000 |  | TOKOPEDIA, Tokopedia
37 |  |  |  |  | Konektor rj 45 Belden cat 6 | 2 | Pack | 409500 | 819000 | 360360 |  | 720721 | 49140 | 98279 |  | dynacom@gmail.com
38 |  |  |  |  | Konektor STP Belden cat 6 | 1 | Pack | 682000 | 682000 | 600000 |  | 600000 | 82000 | 82000 |  | dynacom@gmail.com
39 |  |  |  |  | T-dus 20mm Hitam | 40 | Pcs | 7000 | 280000 | 6126 |  | 245045 | 874 | 34955 |  | PT Adji Saka Sentosa
1
Jasa Instalasi
1 |  |  | G024114955 |  | V - INSTALASI KABEL UTP | 95 | Node | 170500 | 16197500 | 150000 |  | 14250000 | 20500 | 1947500 | 12.02% | Pak Umar Bakri
2 |  |  | G024125383 |  | V - Instalasi Kabel Fiber Optic | 475 | meters | 17000 | 8075000 | 15000 |  | 7125000 | 2000 | 950000 | 11.76% | Pak Umar Bakri
3 |  |  | G024094351 |  | V - Installasi penarikan cable ITC Alarm include terminasi | 14 | Node | 170500 | 2387000 | 150000 |  | 2100000 | 20500 | 287000 | 12.02% | Pak Umar Bakri
4 |  |  | G024094064 |  | V - Biaya Instalasi Kabel Power Include Pemasangan Box panel | 7 | Node | 170500 | 1193500 | 150000 |  | 1050000 | 20500 | 143500 | 12.02% | Pak Umar Bakri
5 |  |  | G024094060 |  | V - Biaya Instalasi BackBone | 8 | Node | 170500 | 1364000 | 150000 |  | 1200000 | 20500 | 164000 | 12.02% | Pak Umar Bakri
6 |  |  | G024094069 |  | V - Biaya Installasi HDMI | 2 | Unit | 170500 | 341000 | 150000 |  | 300000 | 20500 | 41000 | 12.02% | Pak Umar Bakri
7 |  |  | G024094067 |  | V - Biaya Setting & Pemasangan cctv Include Pointing dan Bracet / Junction Box | 95 | Unit | 91000 | 8645000 | 80000 |  | 7600000 | 11000 | 1045000 | 12.09% | Pak Umar Bakri
8 |  |  | G024094075 |  | V - Biaya Terminasi Kabel Power / Stop Kontak | 8 | Node | 57000 | 456000 | 50000 |  | 400000 | 7000 | 56000 | 12.28% | Pak Umar Bakri
9 |  |  | G024094079 |  | V - Pemasangan Wmr | 6 | Unit | 284000 | 1704000 | 250000 |  | 1500000 | 34000 | 204000 | 11.97% | Pak Umar Bakri
10 |  |  | G024094077 |  | V - Biaya Pemasangan NVR & Switch | 1 | lot | 284000 | 284000 | 250000 |  | 250000 | 34000 | 34000 | 11.97% | Pak Umar Bakri
11 |  |  | G024094081 |  | V - Terminasi Modular WMR dan Server | 127 | Pcs | 22500 | 2857500 | 20000 |  | 2540000 | 2500 | 317500 |  | Pak Umar Bakri
12 |  |  | G024094083 |  | V - Pemasangan Box Panel Include Mcb | 1 | lot | 284000 | 284000 | 250000 |  | 250000 | 34000 | 34000 |  | Pak Umar Bakri
13 |  |  | G024094353 |  | V - pemasangan perangkat device Alarm | 13 | Unit | 113500 | 1475500 | 100000 |  | 1300000 | 13500 | 175500 |  | Pak Umar Bakri
14 |  |  | G024094085 |  | V - Biaya Testing Commisioning | 1 | lot | 2840500 | 2840500 | 2500000 |  | 2500000 | 340500 | 340500 |  | Pak Umar Bakri
15 |  |  | G024094088 |  | V - Normalisasi | 1 | lot | 1704500 | 1704500 | 1500000 |  | 1500000 | 204500 | 204500 |  | Pak Umar Bakri
16 |  |  | G025031865 |  | V - Dokumentasi LV 2 | 1 | lot | 852000 | 852000 | 750000 |  | 750000 | 102000 | 102000 |  | Pak Umar Bakri
17 |  |  | G024094093 |  | V - Biaya Bongkar pasang scafolding | 1 | lot | 5681500 | 5681500 | 5000000 |  | 5000000 | 681500 | 681500 |  | Pak Umar Bakri
18 | [15 empty] | Pak Umar Bakri
19 |  |  | G024094096 |  | V - Biaya Service maintennce 1 tahun | 1 | lot | 5113000 | 5113000 | 4500000 |  | 4500000 | 613000 | 613000 |  | Pak Umar Bakri
20 |  |  | G024094098 |  | V - Biaya Test Grounding | 1 | lot | 3409000 | 3409000 | 3000000 |  | 3000000 | 409000 | 409000 |  | Pak Umar Bakri
21 |  |  | G024094073 |  | V - Biaya Installasi Pemasangan Breaket Tempel & LED TV | 3 | Unit | 170500 | 511500 | 150000 |  | 450000 | 20500 | 61500 |  | Pak Umar Bakri
22 |  |  |  |  | Dismantle Kabel UTP + Unit CCTV | 48 | Unit | 113500 | 5448000 | 100000 |  | 4800000 | 13500 | 648000 |  | Pak Umar Bakri
23 |  |  | G024125256 |  | V - Splicing kabel FO & WMR Rack Server | 16 | Core | 57000 | 912000 | 50000 |  | 800000 | 7000 | 112000 |  | Pak Umar Bakri
24 |  |  | G025031889 |  | V - Labeling Lv 2 | 1 | Lot | 852000 | 852000 | 750000 |  | 750000 | 102000 | 102000 |  | Pak Umar Bakri
Special Notes and Instructions | [7 empty] | Subtotal | 385481000 | 73764130.89 | #REF! | 339165677 | 10160369 | 46315323 | 12.01%
- Please confirm for latest price and stock prior ordering | [7 empty] | Discount |  | Modal Unit | Modal Unit | Modal Total | Laba Unit | Laba Total | Margin
[8 empty] | VAT 11% | 42402910
[8 empty] | TOTAL | 427883910
Terms and Conditions:
- Prices are FOB Surabaya, delivery charges outside Surabaya will be borne by the buyer | [10 empty] | 49615000 |  |  |  |  | #REF!
- Stock may change at any time without prior notice | [10 empty] | 8250000 | 58615000
- Quotation valid for 7 (seven) days | [10 empty] | 750000 |  |  |  | Jasa | #REF!
- Term of Payment is Cash Before Delivery | [14 empty] | Material | #REF!
- if not mention in the quotation, price exclude installation and implementation | [7 empty] | Best Regards, | [6 empty] | % jasa | #REF!
PT. Visiniaga Mitra Kreasindo
[11 empty] | harga jasa standart harga budget : | #REF! |  | #REF!
Bankers:
- Bank BCA (IDR) - PT. VISINIAGA MITRA KREASINDO ( 822-258-7777 )
- Bank Mandiri (IDR) - PT. VISINIAGA MITRA KREASINDO ( 142-00-5077877-7 )
- Bank Cimb Niaga (IDR) - PT. VISINIAGA MITRA KREASINDO (800187098900) | [7 empty] | Lewi Supranata Kristianto
President Director