## Convert to SO (Bu Diana)
Product | BOM Line | VN | Unit of Measure
Material Tarikan kabel | Switch 24 Port Hikvision DS-3E1528-Si-24t4F |  | lot
V - KAMERA FIXED DOME 2 MP DS-2CD1121G0-I
V - KAMERA DOME MOTORIZED 2 MP DS-2CD2721GO-IZ
| V - KAMERA FIXED BULLET 2 MP DS-2CD1021G0-I | yes
V - NVR 32 PORT KAMERA/4 PORT HDD DS-7732NXI-I4/S
V - NVR 16 PORT KAMERA/4 PORT HDD DS-7716NXI-I4/S
V - Harddisk SEAGATE SKYHAWK AI for surveillance MFI (untuk NVR yg berada di ruang Server) 10 TB
Material Support | V - Hikvision 24 Port Gigabit managed PoE Switch DS-3E1526P-EI |  | unit
V - Hikvision 16 Port Gigabit Managed Switch DS-3E1516-EI
V - APC Lan Arester untuk kamera nomer 1 sd 8,17,18,23,24,25,26,
V - Indorack Wall Mounted Rack 8U depth 450mm 8u Single Door WIR4508S
V - Indorack Fix slave rack 1 U (untuk alas 3 unit NVR di rack server) FS90
| V - Monitor TV 32" Samsung (untuk live di ruang LP) UA32T4503 | Yes | Pcs
V - Monitor LED LG 24MR400 24 Inch
V -Junction Box khusus untuk pelindung konektor RG45 kamera Outdoor (kamera nomer 1 sd 32) PFA130-E
Door contact kecil-Besi untuk pintu gudang Mezanine (diseri ke zona 8 roof top)
V - Roller Shutter Sensor Magnetic Door alarm contact with L Bracket (Zona 10 / Rolling Door Gudang)
V - Mouse Wireless Logitech M-185
Patch Cord FO LC to LC Duplex Single Mode (R. Server, WMR 1) panjang 2 METER Netviel
Netviel OTB 1 U Rackmount 8 Core Included adapter & Pigtail SM LC
V - Wiring management AMP COMSCOPE (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1 & 1 unit diruang server)
| V - PatchPanel CAT 6 AMP COMSCOPE 24 port unloaded (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1, & 1 unit diruang server) | yes
V - Modullar RG45 cat6 AMP COMSCOPE for patch pannel (cctv+back bound wmr+backbound Rack server)
V - Patchcord UTP Cat 6 4 Feet (branded) For Panel WMR (warna biru)
| V - Patchcord UTP Cat 6 4 Feet (branded) For Backbone (warna merah) | yes
V - Cable cat 6 AMP COMSCOPE untuk 70 kamera & backbond ke server10 tarikan(1 roll = 305 meter)
V - Cable cat 6 STP BELDEN untuk 22 kamera outdoor bullet no.1,3 s/d 20,30,31,32 (1 roll = 305 meter)
Netviel 4 Core SM Outdoor Fiber Optic
SFP 1GB Hikvision SFP 1 GB SM HK-SFP-1.25G-20-1310-DF
V - Power Cable Supreme NYM 3 x 1.5 mm 1 roll = 100 meter
V - Kabel Power 3x2,5 mm @100 mtr For client
Kabel Power NYY 3x2.5 mm @100mtr/roll
V - Intrusion Alarm Cable “SUPREME” TC4 ( 1 roll = 500 meter) (2 Pair)
V - Kabel HDMI panjang 20 meter untuk koneksi LED ke NVR (dari ruang server ke ruang cctv)
Kabel HDMI 2mtr bafo
V - High Impact Pipa Conduit 20 mm Boss Hitam
V - High Impact Pipa Conduit 20mm Putih Boss
V - Sok Conduit 20 MM Boss putih
V - Sok Conduit 20 MM Boss Hitam
V - Flexible Conduit 20 mm Putih Boss
V - Flexible Conduit BOSS 20 MM Hitam
V - Klem Conduit 20 mm Putih
V - Clam Conduit Hitam
V - T-Dus Conduit 20 mm putih
V - Fisher S6
V - Sekrup S6
V - Kabel Ties 25 mm Putih
V - Kabel Ties 25 mm Hitam
V - Solasi Kertas
V - Solasi hitam / listrik
V - Ties Label 2.5x110mm
V - Vilcrow 5 Meter
V - Baut Gypsum 3 cm
V - Sealant bening
V - Duradus Hitam 105x105
V - Pilox Kuning
V - Murbaut M4x20
V - Clam Buaya 20 mm
V - Box Panel MCB Indoor 30x40x15 cm
V - MCB Schneider 20A
V - MCB Schneider 10A
V - MCB Schneider 6A
V - Dinrail / mcb rail kit
Tiang gantung Galvanis Conduit 1/2 inch , Panjang 0,5 meter)
Tiang gantung Galvanis Conduit 3/4-1/2 inch, panjang 1 meter (bisa diadjust naik turun)
Tiang Kamera Panjang 3,5 meter diameter 2 inch
V - Breket tempel untuk LED 32 inc di ruang cctv
V - Breket tempel untuk LED 43 inc
Bracket tempel monitor led 24inch
Tang Krimping rj45 belden
Lan Tester
Konektor rj 45 Belden cat 6
Konektor STP Belden cat 6
T-dus 20mm Hitam
V - INSTALASI KABEL UTP
V - Instalasi Kabel Fiber Optic
V - Installasi penarikan cable ITC Alarm include terminasi
V - Biaya Instalasi Kabel Power Include Pemasangan Box panel
V - Biaya Instalasi BackBone
V - Biaya Installasi HDMI
V - Biaya Setting & Pemasangan cctv Include Pointing dan Bracet / Junction Box
V - Biaya Terminasi Kabel Power / Stop Kontak
V - Pemasangan Wmr
V - Biaya Pemasangan NVR & Switch
V - Terminasi Modular WMR dan Server
V - Pemasangan Box Panel Include Mcb
V - pemasangan perangkat device Alarm
V - Normalisasi
V - Dokumentasi LV 2
V - Biaya Bongkar pasang scafolding
V - Biaya Service maintennce 1 tahun
V - Biaya Test Grounding
V - Biaya Installasi Pemasangan Breaket Tempel & LED TV
Dismantle Kabel UTP + Unit CCTV
V - Splicing kabel FO & WMR Rack Server
V - Labeling Lv 2
V - Biaya Testing Commisioning

## New Product
Sequence | Name | Product Type | Product Type Info | Vendors/Display Name | Vendors/Price | Vendors/Company | Cost | Public Price | Unit of Measure | Purchase Unit of Measure | Sales Description | Purchase Description | Item
0 | V - Kabel AWG 24 Cat 6 Commscope | Storable Product | Storable Product | CV. Dynamedia Solusi Teknologi | 1850000 | PT. Visiniaga Mitra Kreasindo | 1850000 | Rp 2,146,000 | Roll | Roll |  |  | Material Cable
1 | V - Faceplate 1 slot RJ 45 Commscope | Storable Product | Storable Product | PT. AWS Distribution | 35000 | PT. Visiniaga Mitra Kreasindo | 35000 | 40500 | Pcs | Pcs |  |  | Material Cable
2 | V - Outbow boss | Storable Product | Storable Product | PT. ADJI SAKA SENTOSA | 8108 | PT. Visiniaga Mitra Kreasindo | 8108 | 9500 | Pcs | Pcs |  |  | Material Cable
3 | V - Modular Jack Commscope cat 6 | Storable Product | Storable Product | PT. AWS Distribution | 51000 | PT. Visiniaga Mitra Kreasindo | 51000 | 59000 | Pcs | Pcs |  |  | Material Cable
4 | V - NPC06UVDB-BL004F Patchord utp Commscope 4 Feet | Storable Product | Storable Product | PT. AWS Distribution | 45000 | PT. Visiniaga Mitra Kreasindo | 45000 | 52000 | Pcs | Pcs |  |  | Material Cable
5 | V - 24 port RJ45 Patch Panel for Rack Commscope | Storable Product | Storable Product | PT. AWS Distribution | 425000 | PT. Visiniaga Mitra Kreasindo | 425000 | 493000 | Pcs | Pcs |  |  | Material Cable
6 | V - Wiring Managemet Commscope | Storable Product | Storable Product | PT. AWS Distribution | 185000 | PT. Visiniaga Mitra Kreasindo | 185000 | 214500 | Pcs | Pcs |  |  | Material Cable
7 | V - Solasi hitam / listrik | Storable Product | Storable Product | CV. Pilar Abadi Nusant | 6756.76 | PT. Visiniaga Mitra Kreasindo | 6756.76 | 8000 | Pcs | Pcs |  |  | Material Support
8 | V - Vilcrow 5 Meter | Storable Product | Storable Product | CV. Pilar Abadi Nusant | 40000 | PT. Visiniaga Mitra Kreasindo | 40000 | 46500 | Pcs | Pcs |  |  | Material Support
9 | V - Penarikan kabel UTP | Storable Product | Storable Product | Pak Natsir | 150000 | PT. Visiniaga Mitra Kreasindo | 150000 | 174000 | Node | Node |  |  | Jasa Instalasi
10 | V - Pemasangan Face Plate 1 hole | Storable Product | Storable Product | Pak Natsir | 50000 | PT. Visiniaga Mitra Kreasindo | 50000 | 58000 | Unit of Measure | Unit of Measure |  |  | Jasa Instalasi
11 | V - Terminasi Modular | Storable Product | Storable Product | Pak Natsir | 35000 | PT. Visiniaga Mitra Kreasindo | 35000 | 40500 | Pcs | Pcs |  |  | Jasa Instalasi
12 | V - Bobok Beton | Storable Product | Storable Product | Pak Natsir | 8000000 | PT. Visiniaga Mitra Kreasindo | 8000000 | 9280000 | Lot | Lot |  |  | Jasa Instalasi
13 | V - Labeling Horizontal & Vertikal | Storable Product | Storable Product | IT Visiniaga Services | 2000000 | PT. Visiniaga Mitra Kreasindo | 2000000 | 2320000 | Lot | Lot |  |  | Jasa Instalasi
14 | V - Normalisasi Horizontal & Vertikal | Storable Product | Storable Product |  | 14000000 | PT. Visiniaga Mitra Kreasindo | 14000000 | 16240000 | Lot | Lot |  |  | Jasa Instalasi
15 | V - Dokumentasi Horizontal & Vertikal | Storable Product | Storable Product | Pak Natsir | 2000000 | PT. Visiniaga Mitra Kreasindo | 2000000 | 2320000 | Lot | Lot |  |  | Jasa Instalasi
16 | V - Testing dan Commisioning | Storable Product | Storable Product | IT Visiniaga Services | 5000000 | PT. Visiniaga Mitra Kreasindo | 5000000 | 5800000 | Lot | Lot |  |  | Jasa Instalasi

## New Kit
Sequence | Product | Product Variant | Quantity | BoM Type | Company | BoM Lines/Component | BoM Lines/Quantity
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Kabel AWG 24 Cat 6 Commscope | 16
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Faceplate 1 slot RJ 45 Commscope | 48
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Outbow boss | 48
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Modular Jack Commscope cat 6 | 96
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - NPC06UVDB-BL004F Patchord utp Commscope 4 Feet | 48
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - 24 port RJ45 Patch Panel for Rack Commscope | 3
0 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Wiring Managemet Commscope | 3
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | [G024094324] V - High Impact Pipa Conduit 20mm Putih | 813
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | [G024094102] V - Sok Conduit 20 MM Boss putih | 16
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | [G024094109] V - Flexible Conduit BOSS 20 MM Putih | 2
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | [G024094561] V - T dus 20mm boss Putih | 38
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | [G024094122] V - Solasi Kertas | 2
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Solasi hitam / listrik | 2
1 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Vilcrow 5 Meter | 2
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Penarikan kabel UTP | 48
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Pemasangan Face Plate 1 hole | 48
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Terminasi Modular | 96
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Bobok Beton | 1
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Labeling Horizontal & Vertikal | 1
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Normalisasi Horizontal & Vertikal | 1
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Dokumentasi Horizontal & Vertikal | 1
2 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | V - Testing dan Commisioning | 1

## New SO Line for Convert
PERLU DALAM IMPORT SO LINE (OTOMISASI MEMBACA DARI BOQ)
Product | Description | Ordered Qty | Unit of Measure | Unit Price | Taxes
Material Tarikan kabel | Material Tarikan kabel | 1 |  | 47018500 | 11% PPN Sale
Material Support | Material Support | 1 |  | 12632000 | 11% PPN Sale
Jasa Instalasi | Jasa Instalasi | 1 |  | 50984000 | 11% PPN Sale
[G022044169] Tinta Epson 003 Black | [G022044169] Tinta Epson 003 Black | 20 |  | untuk product single = unit price | 11% PPN Sale
untuk Kit = jumlah dari line total
| harus excel sebagai output |  |  | ngikutin price dari cokumen "convert to SO" | fix 11%