## Sheet1
Product | BOM Line | VN
Material cctv | V - KAMERA FIXED DOME 2 MP DS-2CD1121G0-I
V - KAMERA DOME MOTORIZED 2 MP DS-2CD2721GO-IZ
V - KAMERA FIXED BULLET 2 MP DS-2CD1021G0-I
V - NVR 32 PORT KAMERA/4 PORT HDD DS-7732NXI-I4/S
V - NVR 16 PORT KAMERA/4 PORT HDD DS-7716NXI-I4/S
| V - Harddisk SEAGATE SKYHAWK AI for surveillance MFI (untuk NVR yg berada di ruang Server) 10 TB | yes
| V - Hikvision 24 Port Gigabit managed PoE Switch DS-3E1526P-EI | yes
| V - Hikvision 16 Port Gigabit Managed Switch DS-3E1516-EI | yes
Switch 24 Port Hikvision DS-3E1528-Si-24t4F
V - APC Lan Arester untuk kamera nomer 1 sd 8,17,18,23,24,25,26,
V - Indorack Wall Mounted Rack 8U depth 450mm 8u Single Door WIR4508S
V - Indorack Fix slave rack 1 U (untuk alas 3 unit NVR di rack server) FS90
V - Monitor TV 32" Samsung (untuk live di ruang LP) UA32T4503
V - Monitor LED LG 24MR400 24 Inch
| V -Junction Box khusus untuk pelindung konektor RG45 kamera Outdoor (kamera nomer 1 sd 32) PFA130-E | yes
Material shutter | Door contact kecil-Besi untuk pintu gudang Mezanine (diseri ke zona 8 roof top)
V - Roller Shutter Sensor Magnetic Door alarm contact with L Bracket (Zona 10 / Rolling Door Gudang)
V - Mouse Wireless Logitech M-185
V - Wiring management AMP COMSCOPE (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1 & 1 unit diruang server)
| V - PatchPanel CAT 6 AMP COMSCOPE 24 port unloaded (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1, & 1 unit diruang server) | yes
V - Modullar RG45 cat6 AMP COMSCOPE for patch pannel (cctv+back bound wmr+backbound Rack server)
V - Patchcord UTP Cat 6 4 Feet (branded) For Panel WMR (warna biru)
V - Patchcord UTP Cat 6 4 Feet (branded) For Backbone (warna merah)
V - Cable cat 6 AMP COMSCOPE untuk 70 kamera & backbond ke server10 tarikan(1 roll = 305 meter)
V - Cable cat 6 STP BELDEN untuk 22 kamera outdoor bullet no.1,3 s/d 20,30,31,32 (1 roll = 305 meter)
Netviel 4 Core SM Outdoor Fiber Optic
Patch Cord FO LC to LC Duplex Single Mode (R. Server, WMR 1) panjang 2 METER Netviel
Netviel OTB 1 U Rackmount 8 Core Included adapter & Pigtail SM LC
| SFP 1GB Hikvision SFP 1 GB SM HK-SFP-1.25G-20-1310-DF | yes
V - Power Cable Supreme NYM 3 x 1.5 mm 1 roll = 100 meter
V - Kabel Power 3x2,5 mm @100 mtr For client
| Kabel Power NYY 3x2.5 mm @100mtr/roll | yes
V - Intrusion Alarm Cable “SUPREME” TC4 ( 1 roll = 500 meter) (2 Pair)
V - Kabel HDMI panjang 20 meter untuk koneksi LED ke NVR (dari ruang server ke ruang cctv)
Kabel HDMI 2mtr bafo
V - High Impact Pipa Conduit 20 mm Boss Hitam
Supportis | V - High Impact Pipa Conduit 20mm Putih Boss
V - Sok Conduit 20 MM Boss putih
V - Sok Conduit 20 MM Boss Hitam
V - Flexible Conduit 20 mm Putih Boss
V - Flexible Conduit BOSS 20 MM Hitam
V - Klem Conduit 20 mm Putih
V - Clam Conduit Hitam
V - T-Dus Conduit 20 mm putih
V - Fisher S6
V - Sekrup S6
V - Kabel Ties 25 mm Putih
| V - Kabel Ties 25 mm Hitam | yes
V - Solasi Kertas
V - Solasi hitam / listrik
V - Ties Label 2.5x110mm
V - Vilcrow 5 Meter
V - Baut Gypsum 3 cm
V - Sealant bening
V - Duradus Hitam 105x105
Install Dinding | V - Pilox Kuning
V - Murbaut M4x20
V - Clam Buaya 20 mm
V - Box Panel MCB Indoor 30x40x15 cm
V - MCB Schneider 20A
V - MCB Schneider 10A
V - MCB Schneider 6A
V - Dinrail / mcb rail kit
Tiang gantung Galvanis Conduit 1/2 inch , Panjang 0,5 meter)
Tiang gantung Galvanis Conduit 3/4-1/2 inch, panjang 1 meter (bisa diadjust naik turun)
Tiang Kamera Panjang 3,5 meter diameter 2 inch
V - Breket tempel untuk LED 32 inc di ruang cctv
V - Breket tempel untuk LED 43 inc
Bracket tempel monitor led 24inch
Tang Krimping rj45 belden
Lan Tester
Konektor rj 45 Belden cat 6
| Konektor STP Belden cat 6 | yes
T-dus 20mm Hitam
V - INSTALASI KABEL UTP
V - Splicing kabel FO & WMR Rack Server
V - Labeling Lv 2
Install Kabel | V - Instalasi Kabel Fiber Optic
V - Installasi penarikan cable ITC Alarm include terminasi
V - Biaya Instalasi Kabel Power Include Pemasangan Box panel
V - Biaya Instalasi BackBone
V - Biaya Installasi HDMI
V - Biaya Setting & Pemasangan cctv Include Pointing dan Bracet / Junction Box
V - Biaya Terminasi Kabel Power / Stop Kontak
V - Pemasangan Wmr
V - Biaya Pemasangan NVR & Switch
V - Terminasi Modular WMR dan Server
V - Pemasangan Box Panel Include Mcb
V - pemasangan perangkat device Alarm
V - Biaya Testing Commisioning
V - Normalisasi
V - Dokumentasi LV 2
V - Biaya Bongkar pasang scafolding
V - Biaya Service maintennce 1 tahun
V - Biaya Test Grounding
V - Biaya Installasi Pemasangan Breaket Tempel & LED TV
Dismantle Kabel UTP + Unit CCTV