## Sheet1
Sequence | Product | Product Variant | Quantity | BoM Type | Company | Unit of Measure | BoM Lines/Component | BoM Lines/Quantity
1 | Jasa Instalasi | Jasa Instalasi | 1 | Kit | PT. Visiniaga Mitra Kreasindo | Pcs | V - Kabel Ties 25 mm Hitam | 10
[7 empty] | V - V -Junction Box khusus untuk pelindung konektor RG45 kamera Outdoor (kamera nomer 1 sd 32) PFA130-E | 9
[7 empty] | V - Door contact kecil-Besi untuk pintu gudang Mezanine (diseri ke zona 8 roof top) | 1
[7 empty] | V - Roller Shutter Sensor Magnetic Door alarm contact with L Bracket (Zona 10 / Rolling Door Gudang) | 7
[7 empty] | V - Mouse Wireless Logitech M-185 | 2
[7 empty] | V - PatchPanel CAT 6 AMP COMSCOPE 24 port unloaded (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1, & 1 unit diruang server) | 8
[7 empty] | V - SFP 1GB Hikvision SFP 1 GB SM HK-SFP-1.25G-20-1310-DF | 4
[7 empty] | V - Modullar RG45 cat6 AMP COMSCOPE for patch pannel (cctv+back bound wmr+backbound Rack server) | 127
[7 empty] | V - Monitor LED LG 24MR400 24 Inch | 1
[7 empty] | V - Patchcord UTP Cat 6 4 Feet (branded) For Panel WMR (warna biru) | 95
[7 empty] | V - Cable cat 6 AMP COMSCOPE untuk 70 kamera & backbond ke server10 tarikan(1 roll = 305 meter) | 18
[7 empty] | V - Cable cat 6 STP BELDEN untuk 22 kamera outdoor bullet no.1,3 s/d 20,30,31,32 (1 roll = 305 meter) | 6
[7 empty] | V - Netviel 4 Core SM Outdoor Fiber Optic | 475
[7 empty] | V - Kabel Ties 25 mm Putih | 5
[7 empty] | V - Solasi Kertas | 5
[7 empty] | V - INSTALASI KABEL UTP | 95
[7 empty] | V - Installasi penarikan cable ITC Alarm include terminasi | 14
[7 empty] | V - Splicing kabel FO & WMR Rack Server | 16
[7 empty] | V - Monitor TV 32" Samsung (untuk live di ruang LP) UA32T4503 | 2
[7 empty] | V - Wiring management AMP COMSCOPE (WMR1=1, WMR2=2,WMR3=1,WMR4=1,WMR5=1 & 1 unit diruang server) | 8
[7 empty] | V - Power Cable Supreme NYM 3 x 1.5 mm 1 roll = 100 meter | 1
[7 empty] | V - Sok Conduit 20 MM Boss Hitam | 0
[7 empty] | V - Intrusion Alarm Cable “SUPREME” TC4 ( 1 roll = 500 meter) (2 Pair) | 1
[7 empty] | V - Kabel HDMI panjang 20 meter untuk koneksi LED ke NVR (dari ruang server ke ruang cctv) | 2
[7 empty] | V - Kabel HDMI 2mtr bafo | 1
[7 empty] | V - High Impact Pipa Conduit 20 mm Boss Hitam | 728
[7 empty] | V - High Impact Pipa Conduit 20mm Putih Boss | 398
[7 empty] | V - Sok Conduit 20 MM Boss putih | 27
[7 empty] | V - Fisher S6 | 15
[7 empty] | V - Flexible Conduit 20 mm Putih Boss | 2
[7 empty] | V - Flexible Conduit BOSS 20 MM Hitam | 4
[7 empty] | V - Klem Conduit 20 mm Putih | 5
[7 empty] | V - Clam Conduit Hitam | 7
[7 empty] | V - T-Dus Conduit 20 mm putih | 20
[7 empty] | V - Kabel Power 3x2,5 mm @100 mtr For client | 5
[7 empty] | V - Sekrup S6 | 15
[7 empty] | V - Kabel Power NYY 3x2.5 mm @100mtr/roll | 1
[7 empty] | V - Patchcord UTP Cat 6 4 Feet (branded) For Backbone (warna merah) | 36
[7 empty] | V - Biaya Instalasi Kabel Power Include Pemasangan Box panel | 7
[7 empty] | V - Biaya Instalasi BackBone | 8
[7 empty] | V - Labeling Lv 2 | 1
[7 empty] | V - Biaya Setting & Pemasangan cctv Include Pointing dan Bracet / Junction Box | 95
[7 empty] | V - Baut Gypsum 3 cm | 1
[7 empty] | V - Sealant bening | 2
[7 empty] | V - Duradus Hitam 105x105 | 38
[7 empty] | V - Biaya Installasi HDMI | 2
[7 empty] | V - Murbaut M4x20 | 20
[7 empty] | V - Clam Buaya 20 mm | 20
[7 empty] | V - Box Panel MCB Indoor 30x40x15 cm | 1
[7 empty] | V - MCB Schneider 20A | 1
[7 empty] | V - MCB Schneider 10A | 1
[7 empty] | V - MCB Schneider 6A | 7
[7 empty] | V - Dinrail / mcb rail kit | 1
[7 empty] | V - Tiang gantung Galvanis Conduit 1/2 inch , Panjang 0,5 meter) | 18
[7 empty] | V - Tiang gantung Galvanis Conduit 3/4-1/2 inch, panjang 1 meter (bisa diadjust naik turun) | 25
[7 empty] | V - Tiang Kamera Panjang 3,5 meter diameter 2 inch | 9
[7 empty] | V - Breket tempel untuk LED 32 inc di ruang cctv | 4
[7 empty] | V - Breket tempel untuk LED 43 inc | 1
[7 empty] | V - Bracket tempel monitor led 24inch | 1
[7 empty] | V - Vilcrow 5 Meter | 3
[7 empty] | V - Ties Label 2.5x110mm | 2
[7 empty] | V - Pilox Kuning | 7
[7 empty] | V - Solasi hitam / listrik | 5
[7 empty] | V - Biaya Terminasi Kabel Power / Stop Kontak | 8
[7 empty] | V - Pemasangan Wmr | 6
[7 empty] | V - Biaya Pemasangan NVR & Switch | 1
[7 empty] | V - Konektor STP Belden cat 6 | 1
[7 empty] | V - Terminasi Modular WMR dan Server | 127
[7 empty] | V - pemasangan perangkat device Alarm | 13
[7 empty] | V - Biaya Testing Commisioning | 1
[7 empty] | V - Normalisasi | 1
[7 empty] | V - Pemasangan Box Panel Include Mcb | 1
[7 empty] | V - Biaya Bongkar pasang scafolding | 1
[7 empty] | V - Biaya Service maintennce 1 tahun | 1
[7 empty] | V - Biaya Test Grounding | 1
[7 empty] | V - Biaya Installasi Pemasangan Breaket Tempel & LED TV | 3
[7 empty] | V - Dismantle Kabel UTP + Unit CCTV | 48
[7 empty] | V - Instalasi Kabel Fiber Optic | 475
[7 empty] | V - T-dus 20mm Hitam | 40
[7 empty] | V - Dokumentasi LV 2 | 1
2 | Material Support | Material Support | 1 | Kit | PT. Visiniaga Mitra Kreasindo | unit | V - Indorack Fix slave rack 1 U (untuk alas 3 unit NVR di rack server) FS90 | 1
[7 empty] | V - Indorack Wall Mounted Rack 8U depth 450mm 8u Single Door WIR4508S | 6
[7 empty] | V - APC Lan Arester untuk kamera nomer 1 sd 8,17,18,23,24,25,26, | 10
[7 empty] | V - Hikvision 16 Port Gigabit Managed Switch DS-3E1516-EI | 3
[7 empty] | V - Hikvision 24 Port Gigabit managed PoE Switch DS-3E1526P-EI | 4
3 | Material Tarikan kabel | Material Tarikan kabel | 1 | Kit | PT. Visiniaga Mitra Kreasindo | lot | V - Harddisk SEAGATE SKYHAWK AI for surveillance MFI (untuk NVR yg berada di ruang Server) 10 TB | 8
[7 empty] | V - NVR 16 PORT KAMERA/4 PORT HDD DS-7716NXI-I4/S | 1
[7 empty] | V - NVR 32 PORT KAMERA/4 PORT HDD DS-7732NXI-I4/S | 2
[7 empty] | V - KAMERA FIXED BULLET 2 MP DS-2CD1021G0-I | 11
[7 empty] | V - KAMERA DOME MOTORIZED 2 MP DS-2CD2721GO-IZ | 6
[7 empty] | V - Switch 24 Port Hikvision DS-3E1528-Si-24t4F | 1
[7 empty] | V - KAMERA FIXED DOME 2 MP DS-2CD1121G0-I | 30